UPS SYSTEM INFO

- Liebert s610 SMS UPS		Model # UDA63154A36AD68 	Tag # 1303573

Battery:

Manufacturer: ENERSYS				No of Jars: 40

Model: HX505-FR					Cells per Jar: 6

Battery Type: VRLA					Cells per string: 240

MBCPM 	Model# U36MB15430AA25S  		TAG# 1303576

- Liebert s610 SMS UPS		Model # UDA63154A36AD68 	Tag # 1303573

Battery:

Manufacturer: ENERSYS				No of Jars: 40

Model: HX505-FR					Cells per Jar: 6

Battery Type: VRLA					Cells per string: 240

MBCPM 	Model# U36MB15430AA25S  	TAG# 1303577

STS2	Model #STA0100a111648	TAG # 1303579

STS2	Model #STA0100a111648	TAG # 1303580

STS2	Model #STA0100a111648	TAG # 1303581

STS2	Model #STA0100a111648	TAG # 1303582

STS2	Model #STA0100a111648	TAG # 1603518