|  | # CITY OF BATTLE CREEK NOTICE OF INVITATION FOR BIDS ## IFB#: 2018-075B TITLE: Chemical Analysis Services ISSUE DATE: April 17, 2018 |
| --- | --- |

BID DUE DATE:	May 1, 2018, at 2:00 PM Local Time (office hours 8-12 and 1-5)

LOCATION:	Purchasing Department

10 N. Division Street, Suite 214

Battle Creek, MI 49014

NOTE!  City Hall now has Security on the 1st floor.  Please allow extra time to get through Security when dropping off your bid.

Purchasing Contact:	Nils Vos

##### Phone:	(269) 966-3381

E-mail:	npvos@battlecreekmi.gov

DESCRIPTION: The City is soliciting bids for the purpose of contracting for the City's annual requirements for chemical analysis services. The resulting contract is anticipated for a term of up to (5) years.

Download this solicitation from our website at: battlecreekmi.gov Copies of the complete Invitation for Bids document may also be obtained from the Purchasing Department, Room 214, 10 N. Division Street, Battle Creek, Michigan 49014, (269) 966-3390.

Bids must be in the actual possession of the Purchasing Department at the location indicated, on or prior to the exact time and date indicated above. Bids received by the correct time and date shall be opened and the amount bid shall be publicly read.  Late bids shall not be considered.

BIDDERS ARE STRONGLY ENCOURAGED TO CAREFULLY READ THE ENTIRE INVITATION FOR BID.

THIS BID IS OFFERED BY: ______________________________________________

(Company Name)

1.0 INSTRUCTIONS TO BIDDERS

1.	BID SUBMISSION:

A.	Bids must be submitted in complete original form by mail or messenger to the following address:

Office of the Purchasing Agent, Room 214, City Hall, 10 N. Division Street, Battle Creek, MI 49014

B.	Bids will be accepted at the above address until the time and date specified herein, and immediately after will be publicly opened and read aloud. The prevailing clock shall be www.time.gov.

C.	All bids shall be tightly sealed in an opaque envelope and plainly marked with the Invitation for Bid number, due date and the bidder's name and address clearly indicated on the envelope.

D.	Late bids will not be accepted and will be returned to the bidder.

E.	All bids submitted in response to this invitation shall become the property of the City and be a matter of public record available for review.

2. 	PREPARATION OF BIDS:

A.	The bid shall be legibly prepared with ink or typed.

B.	If a unit price or extension already entered is to be altered, it shall be crossed out and initialed by the bidder with ink.

C.	The bid shall be legally signed on the OFFER TO CONTRACT page and the complete address of the bidder given thereon.

D.	The City is exempt from Federal Excise and State Sales Taxes, and such taxes shall not be included in bid prices

3.	SIGNATURES: All bids, notifications, claims and statements must be signed by an individual authorized to bind the bidder.

(a.) CORPORATIONS: Signature of official shall be accompanied by a certified copy of the resolution of the Board of Directors authorizing the individual signing to bind the corporation.

(b.) PARTNERSHIPS: Signature of one partner shall be accompanied by a certified copy of the power of attorney authorizing the individual signing to bind all partners. If all partners sign bid no authorization is needed.

4.	REJECTION OR WITHDRAWAL: Submission of additional terms, conditions or agreements with the bid document is grounds for deeming a bid nonresponsive and may result in bid rejection. The City reserves the right to reject any bids and to waive any informalities and minor irregularities defects in bids. Bids may be withdrawn in person by a bidder, or authorized representative, provided their identity is made known and a receipt is signed for the bid, but only if the withdrawal is made prior to the time set for receipt of bids. Bids are an irrevocable offer and may not be withdrawn within 90 days after opening date.

5.	AWARD: The bid will be awarded to that responsible, responsive bidder whose bid, conforming to this solicitation, will be most advantageous to the City, price and other factors considered. Unless otherwise specified in this IFB, the City reserves the right to accept a bid in whole or in part, and to award by item or by group, whichever is deemed to be in the best interest of the City. Any bidder who is in default to the City at the time of submittal of the bid shall have his bid rejected. The City reserves the right to clarify any contractual terms with the concurrence of the Contractor; however, any substantial non-conformity in the offer, as determined by the City, shall be deemed non-responsive and the offer rejected.

In evaluating bids, Owner shall consider the qualifications of the Bidders, and where applicable, operating costs, delivery time, maintenance requirements, performance data, and guarantees of materials and equipment. In addition, the City may conduct such investigations as Owner deems necessary to assist in the evaluation of a Bid and to establish the responsibility, qualifications and financial ability of the Bidders to fulfill the contract.

6.	CONTRACT: A response to an IFB is an offer to contract with the City based upon the terms, conditions, and specifications contained in the City's IFB. Bids do not become contracts unless and until they are executed by the City, eliminating a formal signing of a separate contract. For that reason, all of the terms and conditions of the contract are contained in the IFB, unless any of the terms and conditions are modified by an Addendum or a Contract Amendment.

7.	BID RESULTS: A bid tabulation will be posted on the City’s website and will also be on file and available for review after contract award in the Purchasing Department.

8.	CHANGES AND ADDENDA TO BID DOCUMENTS: Each change or addendum issued in relation to this bid document will be on file in the Office of the Purchasing Agent. In addition, to the extent possible, copies will be mailed to each person registered as having received a set of bid documents. It shall be the bidder's responsibility to make inquiry as to changes or addenda issued. All such changes or addenda shall become part of the contract and all bidders shall be bound by such addenda. Information on all changes or addenda issued will be available at the office of the City Purchasing Agent.

9.	SPECIFICATIONS: Unless otherwise stated by the bidder, the bid will be considered as being in accordance with the City's applicable standard specifications, and any special specifications outlined in the Bid document. References to a particular trade name, manufacturer's catalogue, or model number are made for descriptive purposes to guide the bidder in interpreting the

requirements of the City, and should not be construed as excluding bids.  However, the City does reserve the right to specify a sole brand, with no brand substitutions allowed. The bidder, if awarded a contract, will be required to furnish the particular item referred to in the specifications or description unless departure or substitution is clearly noted and described in the bid and allowed by the IFB.  The City reserves the right to determine if equipment/product being bid is an acceptable alternate. All goods shall be new unless otherwise so stated in the bid. Any unsolicited alternate bid, or any changes, insertions, or omissions to the terms and conditions, specifications, or any other requirements of this bid, may be considered non-responsive. The City reserves the right to disregard any conflicting terms and conditions submitted by the contractor and hold the contractor to the submitted bid price.  Contractors are strongly encouraged to not submit anything with their bid that is not specifically requested in this solicitation.

10.	DELIVERY: Bids shall include all charges for delivery, packing, crating, containers, etc. Prices bid will be considered as being based on F.O.B. Delivered, freight included.

11.	INTERPRETATION OF BID AND/OR CONTRACT DOCUMENTS: All inquiries shall be made within a reasonable time prior to the date and time fixed for the bid opening in order that a written response in the form of an addendum, if required, can be processed before the bids are opened. (Inquiries received that are not made in a timely fashion may or may not be considered).

12.	CURRENCY:  Prices calculated by the bidder shall be stated in U.S. dollars.

13.	PRICING: Prices shall be stated in units of quantity specified in the Bid Document. In case of discrepancy in computing the amount of the bid, the unit price bid will govern.

14.	NOTICE TO PROCEED/PURCHASE ORDER: The successful bidder may not commence work under this contract until authorized to do so by the Purchasing Agent.

15.	CERTIFICATION: By signature in the offer section of the Offer and Acceptance page, bidder certifies:

A. 	The submission of the offer did not involve collusion or other anti-competitive practices.

B. 	The bidder has not given, offered to give, nor intends to give at any time hereafter, any economic opportunity, future employment, gift, loan, gratuity, special discount, trip, favor, or service to a public servant in connection with the submitted offer.

C. 	The bidder hereby certifies that the individual signing the bid is an authorized agent for the bidder and has the authority to bind the bidder to the contract.

D. 	The bidder hereby certifies that the firm will abide by the COPELAND ANTI-KICKBACK ACT, Title 18, U.S.C. June 25, 1948, Section 874, Kickbacks from Public Employees.

16. 	DEFINITIONS:

"CITY" - The City of Battle Creek.

"CITY UNIT" - The department of the City that intends to use the resulting contract.

"CONTRACTOR" - The bidder whose proposal is accepted by the City.

17.	Michigan Constitutional Requirement:  Notwithstanding any provision in this Contract to the contrary, and in accordance with Article I, Section 26 of the Michigan Constitution as adopted by the electorate November 7, 2006, The City or its general contractors shall not discriminate against, or grant preferential treatment to, any individual or group on the basis of race, sex, color, ethnicity, or national origin in the operation of this Contract.  This section shall not prohibit any action that must be taken to establish or maintain eligibility for any federal program if ineligibility would result in a loss of federal funds in connection with this Contract, nor shall this section be interpreted as prohibiting bona fide qualifications based on sex that are reasonable necessary to the execution of this Contract. In the event of conflict between any term of this Contract and this section, the language of this section shall control.

2.0 GENERAL TERMS AND CONDITIONS

2.1	MATERIALS AND WORKMANSHIP: Unless otherwise specified, all materials and workmanship shall be new and of the best grade of their respective kinds for the purpose.

2.2	NON-DISCRIMINATION CLAUSE: The bidder agrees not to discriminate against any employee or applicant for employment, to be employed in the performance of such contract with respect to hire tenure, terms, conditions or privileges, of employment, or any matter directly or indirectly related to employment because of his or her actual or perceived race, color, religion, national origin, sex, age, height, weight, marital status, physical or mental disability, family status, sexual orientation, or gender identity. Breach of this covenant may be regarded as a material breach of the contract as provided for in Act 220 and Act 453 of the Public Acts of 1976, as amended, entitled "Michigan Handicapper's Civil Rights Act" and/or the "Michigan Elliott Larson Civil Rights Act" and/or City of Battle Creek Chapter 214 "Discrimination Prohibited" Ordinance. The bidder further agrees to require similar provisions from any subcontractors, or suppliers. The bidder agrees to comply with the Executive Order 11246 of September 24, 1965, entitled "Equal Employment Opportunity," as amended by Executive Order 11375 of October 13, 1967, as supplemented in Department of Labor regulations (41 CFR, Chapter 60).

2.3	ASSIGNMENT OF CONTRACT: The contractor shall assign no right or interest in this contract in whole or in part and no delegation of any duty of Contractor shall be made without prior written permission of the City.

2.4	INDEMNIFICATION: The contractor shall protect, defend, and save the City, its officials, employees, departments and agents harmless from and against any claims, demands, suits, actions, or proceedings of any kind or nature, in any way resulting from negligent acts or omissions of the contractor or any of its agents, employees, boards, commissions, divisions, departments, or authorities in performing obligations under this agreement. Each party to this agreement agrees that any bond or insurance protection required by this agreement shall limit the terms of this indemnification provision. In case of any action brought against the City by reason of any such claim, suit, action or demand, upon prompt notice from the City, contractor covenants to defend such action or proceeding by counsel that is reasonably satisfactory to the City.

2.5	CONTRACT: The contract shall contain the entire agreement between the City and the Contractor relating to this requirement and shall prevail over any previous contracts, proposals, negotiations, or master agreements in any form. By signing the Offer to Contract, it is agreed that the RFP in its entirety and all enclosed forms are fully incorporated herein as a material part of the contract. In case of conflicts, the most recent document will prevail.

2.6	PROVISIONS REQUIRED BY LAW: Each provision required by law to be in the contract shall be enforced as though it were included herein, and if any such provision is not inserted, the contract shall be amended to make such insertion or correction.

2.7	RELATIONSHIP OF PARTIES: It is clearly understood that each party shall act in its individual capacity and not as an agent, employee, partner, joint venture, or associate of the other. An employee or agent of one party shall not be deemed or construed to be the employee or agent of the other party for any purpose. Taxes or social security payments shall not be withheld from a City payment issued hereunder; Contractor should make arrangements to directly pay such expenses, if any.

2.8	RIGHTS AND REMEDIES: No provision in this contract shall be construed as a waiver by either party of any existing or future right or remedy available by law in the event of any claim, default, or breach of contract. The failure of either party to insist upon the strict performance of any term or condition of the contract or to exercise or delay the exercise of any right or remedy provided in the contract, or by law, or the acceptance of materials or services, obligations imposed by this contract or by law, shall not be deemed a waiver of any right of either party to insist upon the strict performance of the contract.

2.9	ADVERTISING: Contractor shall not advertise, issue a press release or otherwise publish information concerning this RFP or contract without prior written consent of the City. The City shall not unreasonably withhold permission.

2.10	APPLICABLE REGULATIONS/POLICIES: The Revised Code of the State of Michigan, the Charter of the City of Battle Creek, all City Ordinances, Rules and Regulations and Policies shall apply. It shall be the responsibility of the Proposer to be familiar and comply with said regulations/policies.

2.11	ROYALTIES, PATENTS, COPYRIGHTS, NOTICES AND FEES: Contractor shall give all notices and pay all royalties and fees. Contractor shall defend all suits or claims for infringement of any patent rights and shall save the City harmless from loss on account thereof.  Contractor shall comply with all laws, ordinances and codes applicable to any portion of the work. All services, information, computer program elements, reports, and other deliverables that are created under this Agreement shall be the property of the City.  The Contractor shall place no restrictions on the City with regard to the distribution of any of these materials; the City shall have full, unrestricted rights to make and distribute unlimited copies of any services, information, computer programs/elements, reports, or any other deliverable.  Patents for any item created under this contract shall be assigned to the City.

2.12	SUBCONTRACTORS:  No subcontract shall be made by the contractor with any other party for furnishing any of the services herein contracted for without the advance written approval of the City.  All subcontractors shall comply with Federal and State laws and regulations that are applicable to the services covered by the subcontractor and shall include all the terms and conditions set forth herein, which shall apply with equal force to the subcontract, as if the subcontractor were the Contractor referred to herein. Contractor is responsible for contract performance whether or not subcontractors are used.

2.13    OTHER FEDERAL COMPLIANCE:  Where applicable (such as, but not limited to, Construction Managers) contractor shall comply with: Copeland Anti-kickback Act (18 U.S.C. 874); Sections 103 and 107 of the Contract Work Hours and Safety Standards Act (40 U.S.C. 327A 330); Section 306 of the Clean Air Act (42 U.S.C. 1857 (h)); Section 508 of the Clean Water Act (33 U.S.C. 1368); Executive Order 11738, and EPA regulations (40 CFR, Part 15); and the Energy Policy and Conservation Act (Pub. L. 94A 163, 89 Stat. 871).

SPECIAL TERMS AND CONDITIONS

1.	PAYMENT: Payment shall be made monthly, or at the end of each project, within 30 days of the submittal of a correct invoice for goods received or work performed.  If applicable, expenses shall be billed at cost without markup, and must be supported by actual receipts.  Mileage and per diem rates, if applicable, shall not exceed the federal rates.

2.	TERM AND RENEWAL: The term of the contract shall commence on the first of the month following award, unless otherwise identified herein or a different date is required.  The contract shall remain in effect for a period of two (2) years, unless terminated, canceled or extended as otherwise provided herein.  The contractor agrees that the City shall have the right, upon mutual consent, to renew the contract for up to three (3) additional one-year periods. In the event that the City exercises such right, all terms, conditions and provisions of the original contract shall remain the same and apply during the renewal period.

3.	PRICE ADJUSTMENT: The Purchasing Department may review a fully documented request for a price adjustment only after the contract has been in effect for two (2) years. A price adjustment shall only be considered at the time of a contract renewal and shall be a factor in the renewal review process. The City shall determine whether the requested price adjustment or an alternate option is in the best interest of the City.

- QUANTITIES: Because this is an annual requirements contract, the City reserves the right to increase or decrease the estimated quantity as best fits its needs, and the City does not guarantee maximums or minimums.  The City also reserves the right to spot-bid unusually large one-time quantities or to buy outside of this contract if extenuating circumstances exist.

5. 	CONTRACTOR'S INSURANCE:

- The Contractor shall at the time of execution of this contract, file with the City the Certificate of Insurance, which shall cover all of his insurance as required herein, including evidence of payment of premiums thereon, and the policy or policies or insurance covering said City and their officers, agents and employees. Each such policy and certificate shall be satisfactory to the City. Nothing contained in these insurance requirements is to be construed as limiting the extent of the Contractor's responsibility for payment of damages resulting from his operations under this Contract.

- The contractor shall maintain insurances in force at all times during the term of this agreement at the minimum amounts and types as indicated.  Sole proprietors are not required to carry Workers’ Compensation insurance.

Coverage Afforded										Limits of Liability

Workers' Compensation 									$   100,000 or statutory limit

Commercial General Liability: 		Bodily Injury 			$1,000,000 each occurrence

(including XCU if appropriate)		Property Damage 		$1,000,000 each occurrence

or Combined Single Limit	$1,000,000

Automobile Liability: 			Bodily Injury				$   300,000 each person

Liability						$   500,000 each occurrence

Property Damage	 		$   500,000

or Combined Single Limit	$   500,000

The City of Battle Creek shall be listed as an additional insured on general liability coverage, and shall be provided with a Certificate of Insurance that reflects this additional insured status. A 30-day notice of cancellation or material change shall be provided to the City and so noted on the Certificate of Insurance. All certificates and notices shall be sent to City of Battle Creek, P.O. Box 1717, Battle Creek, Michigan 49016.

6.	VENDOR EVALUATION:  Experience with the City shall be taken into consideration when evaluating responsibility of the vendor.

- CANCELLATION: The City reserves the right to cancel the whole or any part of this contract due to failure by the contractor to carry out any material obligation, term, or condition of the contract. The City shall issue written notice to the contractor for any of the following circumstances:

A.	The contractor fails to adequately perform the services set forth in the specifications of the contract:

B.	The contractor fails to make progress in the performance of the contract or gives the City reason to believe that the contractor will not or cannot perform to the requirements of the contract.

Upon receipt of the written notice of concern, the contractor shall have ten calendar days to provide a satisfactory response to the City.  Failure on the part of the contractor to adequately address all issues of concern may result in the City resorting to any single or combination of the following remedies.

A.	Cancel any contract:

B.	Reserve all rights or claims to damage for breach of any covenant of the Contract:

C.	In case of default, the City reserves the right to complete the required work. The City may recover reasonable excess cost from the contractor by any remedies as provided by law.

The City intends to maintain a budget to cover all expenses related to this contract; however, the City may cancel this contract if funds are no longer available.  In such case, the City shall provide the Contractor with a 60-day written notice of cancellation.  The City will pay for all authorized completed work or received goods.

- VENUE:  Any party bringing a legal action or proceeding against any other party arising out of or relating to this Agreement or the transactions it contemplates shall bring the legal action or proceeding:

(i) in the United States District Court for the Western District of Michigan; or

(ii) in any court of the State of Michigan sitting in Calhoun County, if there is no federal subject matter jurisdiction.

- GOVERNING LAW:  This agreement shall be enforced under the laws of the State of Michigan.  Contractor must comply with all applicable federal, state, county, and City laws, ordinances, and regulations.  Contractor shall ensure payment of all taxes, licenses, permits, and other expenses of any nature associated with the provision of services herein.  Contractor shall maintain in current status all Federal, State and Local licenses and permits required for the operation of the business conducted by the Contractor.

SPECIFICATIONS

The City is soliciting bids for the purpose of contracting for the City's annual requirements for chemical analysis services.  This service is to be provided to the laboratory located in the administration building of the Waste Water Treatment Plant at 2000 River Road West, Battle Creek, MI  49037.

Contractor shall submit to the City the following:

1.  Quality Assurance/quality control manual.

2.  	Proposed methodology for each parameter outlined in this contract including method detection limits.

3.  Results of EPA WS and WP Performance Evaluation Audits, and if applicable, APG "Laboratory of   Excellence" results for the last three years including the percentage of correct results.  The City will award the contract to a laboratory with a percent correct of ninety (90) or above for the WS audits and a percent correct of ninety-five (95) or above for the WP and APG audits.

4.  Staff resumes and organization chart of the laboratory.

Contractor shall follow proper chain of custody and quality control procedures, and adhere to EPA regulatory requirements for methodology, sample handling, holding time, and preservation.  The City reserves the right to terminate the contract should any of the above criteria not be met.

Contractor shall provide prepared sample containers and on-site sample pickup for all samples analyzed.

The City reserves the right to delete or add any parameter and reduce or increase the number of samples at its discretion without affecting bid price.  Per sample price shall prevail.

Contractor shall submit reports in a timely manner and not exceed the timeframe as specified herein.  These reports are needed in order for the City to meet NPDES permit specifications.  The City reserves the right to terminate the contract should the specified reporting time frame be exceeded.

Bid proposals shall include unit prices per sample for each parameter.  Please note that all prices 	are contractual for first 2 YEARS (see contract Term and Renewal clause).

Any preparation charges or discounts should be specified.

ANALYSIS SPECIFICATIONS:

Contractor Shall:

A.   Analyze various industrial and wastewater grab samples as follows:

1. 	Analyze two (2) industrial samples, one (1) influent, one (1) effluent and three (3) domestic sewage samples for a one (1) year period for the listed parameters outlined in the Total Toxic Organic Scan section.  The sludge samples shall be analyzed by the 8000 series EPA methods as listed in Test Methods for Evaluating Solid Waste Part 2 of 4.

2.		Report results of at least two (2) significant figures within fourteen (14) days of receipt of samples. Reports are to include sample identification and description, methodology, method detection limits, date of sample, date sample received, analysis date, and analyst identification. Report industrial and influent results in ug/L; report sludge/cake results in mg/kg.  Report sludge/cake samples on a dry weight basis.

B.   Analyze samples of the Wastewater Treatment Plant Sludge as follows:

1.  	Analyze twelve (12) samples, lime-stabilized sludge and four (4) centrifuge cake for the listed parameters with detection limits to the order of magnitude indicated.

2.		Report results to at least two significant figures.  Report Chloride through Total Volatile Solids within seven days; report metals (Antimony through Zinc) within 14 days of receipt of samples.  Reports are to include sample identification and description, methodology, method detection limits, date of sample, date sample received, analysis date, and analyst identification.   Report results on a dry weight basis.

C.   Analyze samples of the Wastewater Treatment Plant Influent and Final Effluent as follows:

1. 	Sample and analyze 4 wastewater influent samples, four (4) wastewater effluent samples and twelve (12) industrial samples for ultra-low level mercury with a desired detection limit of 0.5 ng/L.

2.  	Report all analyses within 14 days of receipt of samples.  Report results to at least two significant figures in ng/L.  Reports are to include sample identification and description, methodology, method detection limits, date of sample, date sample received, analysis date and analyst identification.

3.		The above listed detection limits are desirable unless a higher level is appropriate because of sample matrix interference.  Documentation attesting to this fact must accompany sample results.

4.		Contract Lab will be certified to run ultra-low level mercury.  Contract Lab will conduct the necessary clean hands mercury sampling onsite.

- TOXIC ORGANIC Compounds

| Volatile Compounds |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Acrolein Acrylonitrile Benzene Bromodichloromethane Bromoform Bromomethane Carbon Tetrachloride Chlorobenzene | Chloroethane 2-Chloroethyl vinyl ether Chloroform Chloromethane Dibromochloromethane 1,1-Dichloroethane 1,2-Dichloroethane |  | 1,1-Dichloroethene cis-1,2-Dichloroethene trans-1,2-Dichloroethene 1,2-Dichloropropane cis-1,3-Dichloropropene trans-1,3-Dichlorpropene Ethyl benzene Methyl ethyl ketone Methylene chloride |  | 1,1,2,2-Tetrachloroethane Tetrachloroethene Toluene 1,1,1-Trichloroethane 1,1,2-Trichloroethane Trichloroethene Trichlorofluoromethane Vinyl chloride Xylene isomers |  |
| Base Neutral Compounds |  |  |  |  |  |  |

| Acenaphthene Acenaphthylene Anthracene Benzidine Benzo(a)anthracene Benzo(b)fluoranthene Benzo(k)fluoranthene Benzo(a)pyrene Benzo(ghi)perylene Bis(2-chloroethyl)ether Bis(2-chloroethoxy)methane Bis(2-ethylhexly)phthalate Bis(2-chloroisopropyl)ether Butyl benzyl phthalate 4-Bromophenyl phenyl ether 2-Chloronaphthalene 4-Chlorophenyl phenyl ether Chrysene Dibenzo(a,h)anthracene | Di-n-butylphthalate Di-n-octylphthalate 1,2-Diphenylhydrazine Fluoranthene Fluorene Hexabromobenzene Hexachlorobenzene Hexachlorobutadiene Hexachloro-1,3-butadiene Hexachloroethane Indeno(1,2,3-cd)pyrene Isophorone 4,4-Methylene-bis (2-Chloroaniline) Naphthalene Nitrobenzene N-Nitrosodimethylamine N-Nitrosodiphenylamine | N-Nitrosodi-n-propylamine Pentachlorobenzene Pentachloronitrobenzene Phenanthrene Pyrene Pyridine 1,2,4-Trichlorobenzene 1,3,5-Trichlorobenzene 2,3,7,8 TCDD Screen 1,2-Dichlorobenzene 1,3-Dichlorobenzene 1,4-Dichlorobenzene 3,3'-Dichlorobenzidine Diethyl phthalate Dimethyl phthalate 2,4-Dinitrotoluene 2,6-Dinitrotoluene |
| --- | --- | --- |

| Acid Compounds |  |  |  |  | $ |
| --- | --- | --- | --- | --- | --- |
| 4-Chloro-3-methylphenol 2-Chlorophenol 2,4-Dichlorophenol 2,4-Dimethylphenol |  | 2,4-Dinitrophenol 4,6-Dinitro-2-methylphenol 2-Nitrophenol 4-Nitrophenol Pentachlorophenol |  | Phenol 3-Phenylpropionic acid 2,4,5-Trichlorophenol 2,4,6-Trichlorophenol |  |
| Pesticides |  |  |  |  | $ |
| Aldrin alpha-BHC beta-BHC gamma-BHC (lindane) delta-BHC a-Chlordane g-Chlordane 2,4-D 4,4'-DDD 4,4'-DDE 1,4'-DDT 4,4'-DDT Dieldrin |  | Endosulfan I Endosulfan II Endosulfan Sulfate Endrin Endrin Aldehyde Heptachlor Heptachlor Epoxide Methoxychlor Mirex BP-6 (PBB) PCBs Aroclor-1016 Aroclor-1221 |  | Aroclor-1232 Aroclor-1242 Aroclor-1248 Aroclor-1254 Aroclor-1260 Aroclor-1262 Aroclor-1268 2,4,5-Trichlorophenoxyproprionic acid Toxaphene Trichresylphosphate |  |

*NOTE:  Sludge samples shall be analyzed by the 8000 series EPA methods as listed in Test Methods for Evaluating Solid Waste Part 2 of 4.  Results will be reported on a dry weight basis.

PRICE SHEET

Prices are to be all-inclusive of all fees

Please note that all prices are contractual for first 2 YEARS (see contract Term and Renewal clause).

A) TOTAL TOXIC ORGANIC SCAN (see previous page for lists)

Analyze two (2) industrial samples, one (1) influent, one (1) effluent, three (3) domestic sewage samples for a one (1) year period for the listed parameters:

| PARAMETER | EPA METHODOLOGY | CONTRACT LAB METHOD DETECTION LIMIT | PRICE PER SCAN | Annual Quantity | Year 1 Extended Price | PRICE PER SCAN | Annual Quantity | Year 2 Extended Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Volatile Compounds |  |  | $ | x 7 | $ | $ | x 7 | $ |
| Base Neutral Compounds |  |  | $ | x 7 | $ | $ | x 7 | $ |
| Acid Compounds |  |  | $ | x 7 | $ | $ | x 7 | $ |
| Pesticides |  |  | $ | x 7 | $ | $ | x 7 | $ |

Year 1 Sub-Total  $__________         Year 2 Sub-Total  $__________

A) TOXIC ORGANIC SCAN

Grand Total (Year 1 +2)			$____________________

B)  RESIDUALS: ALL RESULTS TO BE REPORTED ON A DRY WEIGHT BASIS

B1)  Analyze twelve (12) lime-stabilized sludge samples for the following parameters:

| PARAMETER | Maximum Allowable Detection Limit | EPA Methodology | Contract Lab Method Detection Limit | Price Per Parameter | Annual Quantity | Year 1 Extended Price | Price Per Parameter | Annual Quantity | Year 2 Extended Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Arsenic, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Beryllium, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Cadmium, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Calcium, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Chromium, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Copper, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Lead, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Magnesium, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Mercury, Total | 1 mg/kg | 7471 |  | $ | X 12 | $ | $ | X 12 | $ |
| Molybdenum, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Nickel, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Potassium, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Selenium, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Sodium, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Zinc, Total | 1 mg/kg | 6020 |  | $ | X 12 | $ | $ | X 12 | $ |
| Chloride | 1400 mg/kg | 9252 |  | $ | X 12 | $ | $ | X 12 | $ |
| Density |  | *-2710 Standard Methods |  | $ | X 12 | $ | $ | X 12 | $ |
| Nitrogen, Ammonia | 10 mg/kg | 350.3 |  | $ | X 12 | $ | $ | X 12 | $ |
| Nitrogen, Nitrate | 140 mg/kg | 353.3 |  | $ | X 12 | $ | $ | X 12 | $ |
| Nitrogen, Total |  |  |  | $ | X 12 | $ | $ | X 12 | $ |
| Kjeldahl | 100 mg/kg | 351.4 |  | $ | X 12 | $ | $ | X 12 | $ |
| pH |  | 150.1 |  | $ | X 12 | $ | $ | X 12 | $ |
| Phosphorus, Total | 100 mg/kg | 365.2 |  | $ | X 12 | $ | $ | X 12 | $ |
| Sulfate | 1400 mg/kg | 375.4 |  | $ | X 12 | $ | $ | X 12 | $ |
| Total Solids |  | 160.3 |  | $ | X 12 | $ | $ | X 12 | $ |
| Total Volatile Solids |  | 160.3 |  | $ | X 12 | $ | $ | X 12 | $ |

Year 1 Sub-Total  $__________    		Year 2 Sub-Total  $__________

B2)  Analyze 4 (four) centrifuge sludge cake samples for the following parameters:

| PARAMETER | Maximum Allowable Detection Limit | EPA Methodology | Contract Lab Method Detection Limit | Price Per Parameter | Annual Quantity | Year 1 Extended Price | Price Per Parameter | Annual Quantity | Year 2 Extended Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Arsenic, Total | 1 mg/kg | 6020 |  | $ | X 4 | $ | $ | X 4 | $ |
| Beryllium, Total | 1 mg/kg | 6020 |  | $ | X 4 | $ | $ | X 4 | $ |
| Cadmium, Total | 1 mg/kg | 6020 |  | $ | X 4 | $ | $ | X 4 | $ |
| Chromium, Total | 1 mg/kg | 6020 |  | $ | X 4 | $ | $ | X 4 | $ |
| Lead, Total | 1 mg/kg | 6020 |  | $ | X 4 | $ | $ | X 4 | $ |
| Mercury, Total | 1 mg/kg | 7471 |  | $ | X 4 | $ | $ | X 4 | $ |
| Nickel, Total | 1 mg/kg | 6020 |  | $ | X 4 | $ | $ | X 4 | $ |
| Total Solids |  | 160.3 |  | $ | X 4 | $ | $ | X 4 | $ |

*-2710 Standard Methods

Year 1 Sub-Total  $__________         Year 2 Sub-Total  $__________

B)  RESIDUALS

Grand Total 			$____________________

(B1 + B2, Year 1 +2)

C) WASTEWATER:

Sample and analyze four (4) wastewater influent (one per quarter), four (4) effluent samples (one per quarter) and twelve (12) industrial samples (three per quarter) for the following parameters. Contract Lab will conduct the necessary clean hands mercury sampling onsite.

| PARAMETER | Desirable Detection Limit | EPA Methodology | Contract Lab Method Detection Limit | Price Per Sample | Annual Quantity | Year 1 Extended Price | Price Per Sample | Annual Quantity | Year 2 Extended Price |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mercury, Total ultra low level | 0.5 mg/L |  |  | $ | X 20 | $ | $ | X 20 | $ |

Year 1 Sub-Total  $__________               Year 2 Sub-Total  $__________

C)  Wastewater Total (Year 1 + 2):                $____________________

D) Annual Parameter Analysis

Analyze one (1) effluent samples for a one (1) year period for the following parameters at low-level analysis.

| PARAMETER | Price Per Analysis | Annual Quantity | Year 1 Extended Price | Price Per Analysis | Annual Quantity | Year 2 Extended Price |
| --- | --- | --- | --- | --- | --- | --- |
| Available Cyanide | $ | X 1 | $ | $ | X 1 | $ |

Year 1 Sub-Total  $__________              Year 2 Sub-Total  $__________

D) Annual Parameter Total (Year 1 +2):    $__________________

E) Annual Domestic Sewage Parameter Analysis

Analyze three (3) domestic sewage samples and three (3) influent samples for a one (1) year period for the following parameters at low-level analysis.

|  | Price Per Analysis | Annual Quantity | Year 1 Extended Price | Price Per Analysis | Annual Quantity | Year 2 Extended Price |
| --- | --- | --- | --- | --- | --- | --- |
| Antimony, Total | $ | X6 | $ | $ | X6 | $ |
| Arsenic, Total | $ | X6 | $ | $ | X6 | $ |
| Barium, Total | $ | X6 | $ | $ | X6 | $ |
| Beryllium, | $ | X6 | $ | $ | X6 | $ |
| Cadmium, Total | $ | X6 | $ | $ | X6 | $ |
| Chromium, Total | $ | X6 | $ | $ | X6 | $ |
| Chromium, Hex | $ | X6 | $ | $ | X6 | $ |
| Copper, Total | $ | X6 | $ | $ | X6 | $ |
| Cyanide, Total | $ | X6 | $ | $ | X6 | $ |
| Fats, Oils, & Greases | $ | X6 | $ | $ | X6 | $ |
| Lead, Total | $ | X6 | $ | $ | X6 | $ |
| Mercury, Total | $ | X6 | $ | $ | X6 | $ |
| Nickel, Total | $ | X6 | $ | $ | X6 | $ |
| Phenols, Total | $ | X6 | $ | $ | X6 | $ |
| Phosphorus, Total | $ | X6 | $ | $ | X6 | $ |
| Selenium, Total | $ | X6 | $ | $ | X6 | $ |
| Silver, Total | $ | X6 | $ | $ | X6 | $ |
| Sodium Chloride | $ | X6 | $ | $ | X6 | $ |
| Zinc, Total | $ | X6 | $ | $ | X6 | $ |

Year 1 Sub-Total  $__________            							  Year 2 Sub-Total  $__________

E)  Annual Domestic Sewage Total (Year 1 + 2):    $__________________

F) Annual Analysis (NPDES Additional Analysis)

Analyze one (1) effluent for the following parameters, with the specified quantification level.

| Parameter | Required Quantification Level | Year 1 Price Per Analysis | Year 2 Price Per Analysis |
| --- | --- | --- | --- |
| Antimony | 1 ug/l | $ | $ |
| Arsenic | 1 ug/l | $ | $ |
| Barium | 5 ug/l | $ | $ |
| Beryllium | 1 ug/l | $ | $ |
| Boron | 20 ug/l | $ | $ |
| Cadmium | 0.2 ug/l | $ | $ |
| Lead | 1 ug/l | $ | $ |
| Chromium | 5 ug/l | $ | $ |
| Copper | 1 ug/l | $ | $ |
| Nickel | 5 ug/l | $ | $ |
| Silver | 0.5 ug/l | $ | $ |
| Selenium | 1 ug/l | $ | $ |
| Thallium | 1 ug/l | $ | $ |
| Zinc | 5 ug/l | $ | $ |
| Total Phenolic compounds |  | $ | $ |
| Hardness (Calcium Carbonate) |  | $ | $ |

Year 1 Sub-Total  $__________ 	Year 2 Sub-Total  $__________

F)  Annual NPDES Additional Analysis Total

(Year 1+ 2) :                       					          $_______________

G) Industrial Annual Analyses

| Description | Price Per Analysis | Annual Quantity | Year 1 Extended Price | Price Per Analysis | Annual Quantity | Year 2 Extended Price |
| --- | --- | --- | --- | --- | --- | --- |
| Analyze two (2) industrial samples per year for total cyanide | $ | x 2 | $ | $ | x 2 | $ |
| Analyze twenty four (24) industrial samples per year for low-level silver | $ | x 24 | $ | $ | x 24 | $ |
| Analyze twelve (12) industrial samples per year for low-level cadmium | $ | x 12 | $ | $ | x 12 | $ |
| Analyze 12 (twelve) industrial samples per year for Barium | $ | x 12 | $ | $ | x 12 | $ |
| Analyze thirty six (36) industrial samples per year for fat, oil and grease | $ | x 36 | $ | $ | x 36 | $ |
| Analyze twelve (12) industrial samples per year for metals that includes: Cadmium, Chromium, Copper, Lead, Nickel, Silver and Zinc | $ | x 12 | $ | $ | x 12 | $ |

Year 1 Sub-Total  $_________    					   Year 2 Sub-Total  $__________

G) Industrial Annual Analysis Total (Year 1 +2)      $_____________

H)  Annual Laboratory QC (Quality Control) Split Sample Analysis

Analyze one (1) split sample with our Laboratory for the following:

| Parameter | Year 1 Price Per Analysis | Year 2 Price Per Analysis |
| --- | --- | --- |
| Carbonaceous BOD5 | $ | $ |
| Total Suspended Solids | $ | $ |
| Ammonia-N | $ | $ |
| Phosphorus, Total | $ | $ |
| Fecal | $ | $ |

Year 1 Sub-Total  $_________       Year 2 Sub-Total  $__________

H)  Annual Laboratory TOTAL (Year 1 + 2)      $_____________

I)  Annual Whole Effluent Toxicity Monitoring

Analyze three (3) effluent samples for the following:

Acute and chronic toxicity monitoring in accordance to the City’s permit with the Michigan Department of Environmental Quality.

| Description | Price Per Analysis | Annual Quantity | Year 1 Extended Price | Price Per Analysis | Annual Quantity | Year 2 Extended Price |
| --- | --- | --- | --- | --- | --- | --- |
| Analyze three (3) industrial samples per year for acute and chronic toxicity | $ | x 3 | $ | $ | x 3 | $ |

Year 1 Sub-Total  $_________      						Year 2 Sub-Total  $__________

I) Annual Whole Effluent Toxicity Monitoring TOTAL (Year 1 + 2)      $_____________

SUMMARY PRICE PAGE (2 YEARS)

A) TOTAL TOXIC ORGANIC SCAN TOTAL	$____________

B)  RESIDUALS TOTAL		$____________

C)  WASTEWATER TOTAL	$____________

D)  ANNUAL PARAMETER

Analysis TOTAL		$____________

E)  Annual Domestic

Sewage Parameter

Analysis TOTAL	$____________

F)  ANNUAL NPDES Analysis TOTAL	$____________

G)  INDUSTRIAL ANNUAL ANALYSIS	$____________

H)  ANNUAL LAB QC SPLIT SAMPLES	$____________

I)  ANNUAL WHOLE EFFLUENT

TOXICITY MONITORING TOTAL	$____________

GRAND TOTAL   $_____________________

(Total of A-I from above)

Please note that all prices are contractual for first 2 YEARS (see contract Term and Renewal clause).

Contractor will provide prepared sample containers and on-site sample pickup for all samples analyzed.

Prices shall be all-inclusive to include, but not limited to, the following: shipping, travel, time, materials, overhead, etc.

Bidders must submit bids with no conflicting terms and conditions and no modifications to the price page.

If bidders believe the price page needs modification (such as the unit of measure, for example), immediately call the buyer listed on the front page of this IFB.  Changes may only be made before bidding and via authorized addendum issued by the City.

### OFFER TO CONTRACT:

TO THE CITY OF BATTLE CREEK:

We hereby offer and agree to furnish the materials, transportation or service in compliance with all terms, conditions, specifications, and amendments in the Invitation for Bid and any written exceptions in the offer. We understand that the items in this Invitation to Bid, including, but not limited to, all required certificates are fully incorporated herein as a material and necessary part of the contract.

The undersigned hereby states, under penalty of perjury, that all information provided is true, accurate, and complete and states that he/she has authority to submit this bid, which will result in a binding contract if accepted by the City of Battle Creek.

We acknowledge receipt of the following addendum(s): _____, _____, _____, _____.

I certify, under penalty of perjury, that I have the legal authorization to bind the firm hereunder, and that our firm is not debarred from doing business under the Federal Excluded Parties List System (epls.gov).

I, the Contractor or Contractor’s legally authorized signer, further certify compliance with the City of Battle Creek Ordinance Chapter 214, Discrimination Prohibited.  I further acknowledge and agree that the Contractor's violation of Chapter 214 shall be a material breach of this contract.  In addition, Contractor acknowledges and agrees that it shall be liable for any costs or expenses incurred by the City in obtaining from other sources, the work and services to be rendered or performed or the goods or properties to be furnished or delivered to the City under the contract as a result of a material breach in the Contract for violations of Chapter 214.

For clarification of this offer, contact:

Company Name

Name:

Address

Phone:

City			State		Zip

Fax:

Signature of Person Authorized to Sign

Email:

Printed Name

Title

ACCEPTANCE OF OFFER:

The Offer is hereby accepted for the following items:						.			Contract Term: ___________________

The Contractor is now bound to sell the materials or services listed by the attached contract and based upon the Invitation for Bid, including all terms, conditions, specification, amendments, etc. and the Contractor's Offer as accepted by the City.

This contract shall henceforth be referred to as Contract No. 	2018-075B	. The Contractor has been cautioned not to commence any billable work or to provide any material or service under this contract until Contractor receives purchase order and/or a notice to proceed from the City of Battle Creek Purchasing Agent.

| COUNTERSIGNED: City Manager Date Witness Signature | APPROVED AS TO FORM BY: City Attorney __________________ Date |
| --- | --- |

ATTACHMENT A - DISADVANTAGED BUSINESS (DBE) FORM

I.  	YOUR FIRM’S BACKGROUND:

Is your firm an MBE (at least 51% minority ownership)?  	_____YES  	_____NO

Is your firm a WBE (at least 51% woman ownership)?  	_____YES  	_____NO

Are you subcontracting any part of this project?		 	_____YES  	_____NO

II.  	SUBCONTRACTING INFORMATION:  If subcontracting any part of the project, the bidder/contractor expressly agrees that:

(1)	If awarded a contract as a result of this bid, the major subcontractors used in the prosecution of the work will be those listed below, and

(2)	The following list includes all subcontractors who will perform work representing approximately five percent (5%) or more of the Total Base Bid.

- The Bidder represents that the subcontractors listed below are financially responsible and are qualified to do the work required.

| SUBCONTRACTOR NAME | City/State | Trade or Commodity | MBE | WBE | Approximate dollar value |
| --- | --- | --- | --- | --- | --- |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | $____________________ |

III. DBE RECRUITMENT ACTIVITY LOG:  List the MBE’s and WBE’s that were approached about being a subcontractor for this job, but who are NOT listed above as a subcontractor.

| NAME OF FIRM APPROACHED, BUT NOT USED ON THIS PROJECT | City/State | Trade or Commodity | MBE | WBE | Reason not used on this project |
| --- | --- | --- | --- | --- | --- |
| ________________________________________ |  | ______________ | Y / N | Y / N | _______________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | _______________________ |
| ________________________________________ |  | ______________ | Y / N | Y / N | _______________________ |