{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":20,"n_cols":6,"rows_kept":20,"merged":[[0,0,0,3],[0,4,0,5],[15,1,15,4],[17,1,17,4],[19,1,19,4]]}
["ECAT Bus Wash",{"$nulls":3},"Contractor's Name"]
["Bid Item No.","Bid Item Description","Quantity","Unit","Unit Price","Bid Price"]
[1,"Mobilization",1,"LS",null,{"$f":"E3*C3","v":0}]
[{"$f":"A3+1","v":2},"Remove 4'x10\" Vent Stack, 1 EA",1,"LS",null,{"$f":"E4*C4","v":0}]
[{"$f":"A4+1","v":3},"Remove Vent Cap, 1 EA",1,"LS",null,{"$f":"E5*C5","v":0}]
[{"$f":"A5+1","v":4},"Remove Galvanized Metal Roof Panels, 3 EA",1,"LS",null,{"$f":"E6*C6","v":0}]
[5,"Replace 4'x10\" Vent Stack, 1 EA",1,"LS",null,{"$f":"E7*C7","v":0}]
[6,"Replace Vent Cap, 1 EA",1,"LS",null,{"$f":"E8*C8","v":0}]
[7,"Replace Galvanized Metal Roof Panels, 3 EA",1,"LS",null,{"$f":"E9*C9","v":0}]
[8,"Repair and Patch Roof Membrane Punctures, 2 EA",1,"LS",null,{"$f":"E10*C10","v":0}]
[9,"Repair Flashing, 1 EA",1,"LS",null,{"$f":"E11*C11","v":0}]
[10,"Project Closeout",1,"LS",null,{"$f":"E12*C12","v":0}]
[{"$nulls":4},"ECAT Bus Wash Bid Total",{"$f":"SUM(F3:F12)","v":0}]
[]
["Notes"]
["1 - ","As required by FEMA, Contractor shall submit to the County a record of disposed materials. The record shall include site name, date of disposal, and GPS coordinates of the site. If the demolished materials are recycled, the Contractor shall submit a statement to the County certifying the materials have been recycled."]
[]
["2 - ","All items shall be bid as Furnish and Install, to include all appurtenances necessary to complete the project."]
[]
["3 - ","All material replacements shall be of like kind and quality, unless otherwise specified in the bid documents."]