Barrineau Park Community Center/HVAC Replacement

6055 Barrineau Park School Rd.

Molino, FL 32577

General Information:

Escambia County is accepting bids for the HVAC replacement in the Community Center. The indoor unit is suspended from the ceiling horizontally and is not equipped to current code. The outdoor unit replacement is straight forward.

Scope of Work:

Remove the Air Handler Unit and the Condensing Unit.

Install new Goodman 2.5-ton 410A refrigerant HVAC Heat Pump with auxiliary heat, equipment.

Make any upgrades that are required to meet current building code.

Replace the Thermostat, add overflow condensate pan, add overflow condensate drain line, add safety switches to the condensate drains, flush current refrigerant lines and re-use, re-use thermostat wire. Re-connect the current ductwork.

Necessary Permits will be obtained by the Contractor.

All work areas will be protected from any debris.

All construction debris will be removed and the area cleaned at the end of each work day.

The Contractor will be responsible for a thorough cleaning of work area’s at the project’s completion.

Walk Through: A non-mandatory site visit will take place on 4-28-2020 @ 10:30 am. Any additional information brought up during the site visit will be updated on Vender Registry.

Start date: Escambia County is eager to get this project completed and intends to appoint a Contractor as soon as possible..

Point of Contact:   J. David Bardin, Program Manager, Facilities Management

Phone: (850) 595-4634

Email: jdbardin@myescambia.com