| 1 | Colleton County School District Procurement Services Request For Quotation (RFQ) | Colleton County Schools Finance Department 213 N. Jefferies Blvd. Walterboro, SC 29488 Phone 843-782-4510 Fax 843-782-3502 |
| --- | --- | --- |

_____________________________________________________________________________________________Quote Number:  07-BG-7218-MS	Date: June 13, 2018 _____________________________________________________________________________________________

Please quote us your lowest delivered (F.O.B. DESTINATION, FREIGHT PREPAID) price for services specified          below not later than   July 24, 2018 @ 10am

DESCRIPTION:  Chain Link Fence at Colleton County Middle School

INSTRUCTIONS: Signed quotes may be e-mailed or faxed to the attention of Kenny Blakeney at the below address and fax number.  To find quote package go to:  http://www.colletonsd.org/Finance_Home.html

Return your information with an adequate description of your product, and schedule of pricing. It is agreed that the District may accept all, none or any part of this quotation.

| All communications must be directed to: Kenny Blakeney, Director of Buildings & Grounds and Susan Crosby kblakeney@colleton.k12.sc.us and smcrosby@colleton.k12.sc.us Phone:843-782-4523 Fax: 843-539-1094 E-Mail: kblakeney@mail.colleton.k12.sc.us | Conference/Site Visit: Mandatory Pre-Bid July 17, 2018 @ 10am Colleton County Middle School 1379 Tuskegee Airmen Drive Walterboro, SC 29488 N/A |
| --- | --- |

SUBMIT QUESTIONS TO THE ABOVE FAX OR E-MAIL BY:  July 19, 2018 @ 10am

| Procurement Official Signature: | Procurement Officer: Ramona Barrett |
| --- | --- |

All requests for information must be signed by a company official duly authorized to bind an agreement for that company.

| Authorized Signature: |  | Printed Name: |
| --- | --- | --- |
| Company: |  | Social Security or Federal Tax No: |
| Mailing Address: |  | Date: Fax Number: |
| City: | State: | Zip: Telephone: |

Are you a Certified Minority Vendor (MBE) YES 		NO

If yes, please provide certification number:

2

Instructions to Bidders

Only one copy of the quote is required, unless specified elsewhere herein.

By submission of a quote, you are guaranteeing that all goods and services meet the requirements of the quote during the contract period. Tie quotes will be resolved as outlined in the Colleton County School District Procurement Code.

Do not include any sales taxes in the quote price shown that the District may be required to pay. The procurement official will compute applicable sales/use tax to the quotes when applicable (service/labor excluded) in determining the low bidder. This procedure is necessary by S.C. Tax Commission Sales and Use Tax Regulation 117-174.95.

The District reserves the right to reject any and all quotes and to cancel the solicitation.

Unit prices will govern over extended prices unless otherwise stated in quote.

Quote prices which include all handling, packing and transportation charges.

Delivery by the contractor to a common carrier does not constitute delivery to the District. Any claim for loss or damage shall be between the contractor and the carrier.

If items have brand name and/or model number, specify same in the quotation.

When faxed quotes are allowed, fax quotes to (843) 782-3502. It is the quoting firm’s responsibility to meet the quotation deadline. It is not sufficient to confirm mailing prior to deadline. The fax machine is located in a common area with multiple users. The District accepts no responsibility for maintaining confidentiality or non-receipt of faxed quotes or faxed quotes received after deadline.

General Provisions/Conditions

DISCUSSION WITH BIDDERS: Discussions may be conducted with apparent responsive bidders for the purpose of clarification to assure full understanding of the requirements of the invitation for bids. All bids, in the procurement official’s sole judgment needing clarification shall be accorded such an opportunity.

AMENDMENTS: All amendments to and interpretations of this quote shall be in writing from Procurement Services. The Procurement Official shall not be legally bound by any amendment or interpretation that is not in writing.

REJECTION: The District reserves the right to reject any quote that contains prices for individual items or services that are unreasonable when compared to the same or other quotes if such action is in the best interest of the District.

DEFAULT: In case of default by the contractor, the District reserves the right to purchase any or all items in default in the open market, charging the contractor with any additional costs. The defaulting contractor shall not be considered a responsible bidder until the assessed charge has been satisfied.

NON-APPROPRIATIONS: Any contract entered into by the District resulting from this quote shall be subject to cancellation without damages or further obligation when funds are not appropriated or otherwise made available to support continuation of performance in a subsequent fiscal period or appropriated year.

CONTRACT ADMINISTRATION: Questions or problems arising after award of this contract shall be directed to Colleton County Finance Department, 213N. Jefferies Blvd, Walterboro, SC 29405, (843) 782-4510.

SAVE HARMLESS: (This clause does not apply to quotes for service requirements.) The successful bidder shall indemnify and save harmless the District and all District officers, agents, and employees, from all suits or claims of any character brought by reason of infringing on any patent, trade mark or copyright. Bidder shall have no liability to the District if such patent, trade mark or copyright infringement or claim is based upon the Bidder's use of material furnished to the Bidder by the District.

PUBLICITY RELEASES: Contractor agrees not to refer to award of this contract in commercial advertising in such a manner as to state or imply that the products or services provided are endorsed or preferred by the District.

S. C. LAW CLAUSE: Upon award of a contract under this quote, the person, partnership, association, or corporation to whom the award is made must comply with the laws of South Carolina which require such person or entity to be authorized and/or licensed to do business with this State. Notwithstanding the fact that applicable statutes may exempt or exclude the successful bidder from requirements that it be authorized and/or licensed to do business in this State, by submission of this signed bid, the bidder agrees to be subject to the jurisdiction and process of the courts of the State of South Carolina as to all matters and disputes arising or to arise under the contract and the performance thereof, including any questions as to the liability for taxes, licenses, or fees levied by the State.

AFFIRMATIVE ACTION: The successful bidder will take affirmative action in complying with all Federal and State requirements concerning fair employment and employment of the handicapped, and concerning the treatment of all employees, without regard or discrimination by reason of race, color, religion, sex, national origin or physical handicap.

CHEMICALS AND OTHER HAZARDOUS MATERIALS: Chemicals and other hazardous materials will be properly labeled and Material Safety Data Sheets (MSDS) will be provided when shipping such materials to the District. Vendors are required to send updated MSDS when properties of materials are changed and/or physical and health instructions become different.

3

TERMINATION:  Subject to the conditions below, the contract may be terminated for any reason by Procurement Services providing a thirty (30) day advance notice in writing is given to the contractor.

For Convenience: In the event that this contract is terminated or canceled upon request and for the convenience of the District without the required thirty (30) days advance written notice, then the District may negotiate reasonable termination costs, if applicable.

For Cause: Termination by the District for cause, default or negligence on the part of the contractor shall be excluded from the foregoing conditions;

termination costs, if any, shall not apply. The thirty (30) days advance notice requirement is waived and the default clause in this bid shall apply.

CONTRACTOR'S AND SUBCONTRACTOR'S INSURANCE: (Applies only to services contracts)

A. Contractor shall not commence work under this contract until all insurance required hereunder has been obtained and such insurance has been approved by Procurement Services, nor shall the contractor allow any subcontractor to commence work on a subcontract until all similar insurance required of the subcontractor has been obtained and approved. Approval of the insurance by Procurement Services shall not relieve or decrease the liability of the contractor hereunder.

B. Compensation and Employer's Liability Insurance: The contractor shall take out and maintain, during the life of this contract, the statutory Workmen's Compensation and Employer's Liability Insurance for all employees to be engaged in work on the project under this contract and in case any such work is sublet the contractor shall require the subcontractor similarly to provide Workmen's Compensation and Employer's Liability Insurance for all of the latter's employees to be engaged in such work.

C. Bodily Injury and Property Damage Liability Insurance: The contractor shall take out and maintain, during the life of this contract, such Bodily Injury Liability and Property Damage Liability Insurance and Automobile Bodily Injury Liability and Property Liability Insurance as shall protect the contractor and any subcontractor performing work covered by this contract from claims for damages for personal injury, including accidental death, as well as from claims for property damage which may arise from operations under this contract whether such operations be by the contractor or by any subcontractors or by anyone directly or indirectly employed by either of them and the amounts of such insurance shall not be less than:

- Bodily Injury Liability insurance in an amount not less than one hundred thousand dollars ($100,000.00) for injuries, including wrongful death on any person and subject to the same limit for each person in an amount not less than three hundred thousand dollars ($300,000.00) on account of one accident.

- Property Damage Insurance in an amount not less than one hundred thousand dollars ($100,000.00).

D. Owner's Protective Liability Insurance: The contractor shall take out, furnish to Procurement Services and maintain during the life of this contract, complete Owner's Protective Liability insurance in an amount as specified in Paragraph (C) above, for Bodily Injury Liability Insurance and for Property Damage Liability Insurance...

# SPECIFICATIONS

SCOPE OF SOLICITATION:

The Colleton County School District is inviting qualified vendors to submit pricing on materials and labor for installing approximately 600 linear feet of 6ft. black coated steel wire fence with three strands of barb wire at the top along with four gates at Colleton County Middle School bus parking lot. Vendor will need to attend the mandatory pre-bid meeting and verify linear feet. Please include in your price the material cost, labor cost, cost per linear foot, and total cost. This sheet must be filled out and included with the bid packet. Bids must meet specifications provided with this bid packet. All work must be completed by August 17, 2018.

Bid Price (include labor and material) $_______________________

Please include a unit cost per linear foot in case we decide to add additional

fencing for this project.

| Item | Price |
| --- | --- |
| Labor price per linear foot |  |

Scope of Solicitation:

- Contractor must provide pricing for labor and materials for installing approximately 600 linear feet of black coated steel wire fence.

- Wire fence must include 3 strands of barb wire at the top of fence.

- Project also includes 2 (two) 6’ black coated steel wire double gates with 30’ opening, 1 (one) 6’ black coated steel wire double gate with 24’ opening.

- Contractor must provide and install 1 (one) 4’x8’ galvanized wire single gate to existing fence around track field.

Answers to commonly asked questions.

1. Question: Will this be a public bid opening?

Answer: Yes.

2. Question: Page2- Instruction to offerors

W-9 forms are requested to be included with bid or do we submit if we

are low bidder?

Answer: You will need to submit if you are the low bidder.

3. Question: Will you provide a copy of the W-9 form if required?

Answer: Yes.

4. Question: Page 5 General Provisions

Item 2 Bid Bonds required

Answer: No.

5. Question: Do we furnish a bid bond with our bid?

Answer: No.

6. Question: Are Line Post 2”, Term. Post 2 ½, Top Rail 1 5/8?

Answer: Yes.

7. Question: I need clarification regarding the gauge of the galvanized fence

fabric. The specifications call out for the coated fabric in a .192

thickness (6ga). You mentioned in the walkthrough that the 4’x8’ gate would be

galvanized only. We will need to know what gauge of galvanized wire.

Typically school sites require .148 (9ga) or .120 (11ga).

Answer: 9ga

8. Question: Is there barbwire?

Answer: Yes.

9. Question: Do we have to use pre-mix concrete from a concrete company?

Answer: No.

Specifications

CHAIN-LINK FENCE FABRIC

A. Provide fabric in one-piece heights measured between top and bottom of outer edge of selvage knuckle or twist. Comply with ASTM A 392, CLFMI CLF 2445, and requirements indicated below:

1. Steel Wire Fabric: Polymer-coated wire with a diameter of 0.192 inch.

a. Mesh Size: 2 inches.

b. Polymer Coating: ASTM F 668, Class 1 over metallic-coated steel wire.

1) Color: As selected by Architect from manufacturer’s full range,

complying with ASTM F 934.

c. Coat selvage ends of fabric that is metallic coated before the weaving

process with manufacturer’s standard clear protective coating.

INDUSTRIAL FENCE FRAMING

A. Posts and Rails: Comply with ASTM F 1043 for framing, ASTM F 1083 for Group IC

round pipe and the following:

1. Group: IA, round steel pipe, Schedule 40.

2. Strength Requirement: Heavy industrial according to ASTM F 1043.

3. Post Diameter and Thickness: According to ASTM F 1043.

a. Swing Gate Post: According to ASTM F 900.

TENSION WIRE

A. General: Provide horizontal tension wire at the following locations:

1. Location: Extended along bottom of fence fabric.

B. Metallic-Coated Steel Wire: 0.177-inch diameter, marcel led tension wire complying with ASTM A 817, ASTM A 824, and the following:

1. Fence and gate posts, rails, and fittings.

2. Chain-link fabric, reinforcements, and attachments.

3. Gates and hardware.

4. Motors: Show nameplate data, ratings, characteristics, and mounting arrangements.

QUALITY ASSURANCE

A. Installer Qualifications: An experienced installer who has completed chain-link fences

and gates similar in material, design and extent to those indicated for this Project and

whose work has resulted in construction with a record of successful in-service

performance.

B. Pre-installation Conference: Conduct conference at Project site to comply with

Requirements in Division 01 Section “Project Management and Coordination”.

CHAIN-LINK FENCE INSTALLATION

A. Post Excavation: Drill or hand-excavate holes for posts to diameters and spacings

indicated in firm, undisturbed soil.

B. Post Setting: Set posts in concrete at indicated spacing into firm, undisturbed soil.

1. Verify that posts are set plumb, aligned and at correct height and spacing, and hold

in position during setting with concrete or mechanical devices.

2. Concrete Fill: Place concrete around posts to dimensions indicated and vibrate or

tamp for consolidation. Protect aboveground portion of posts from concrete

splatter.

a. Concealed Concrete: Top 2 inches below grade to allow covering with surface

material.

C. Terminal Posts: Locate terminal end, corner and gate post per ASTM F 567 and

terminal pull posts at changes in horizontal or vertical alignment of 15 degrees or

more.

D. Line Posts: Space line posts uniformly at 10 feet o.c.

E. Post Bracing and Intermediate Rails: Install according to ASTM F 567, maintaining

plumb position and alignment of fencing. Install braces at end and gate posts and at

both sides of corner and pull posts.

1. Locate horizontal braces at mid-height of fabric 6 feet or higher, on fences with top

rail and at 2/3 fabric height on fences without top rail. Install so posts are plumb

when diagonal rod is under proper tension.

F. Tension Wire: Install according to ASTM F 567, maintaining plumb position and

alignment of fencing. Pull wire taut, without sags. Fasten fabric to tension wire with

0.120-inch diameter hog rings of same material and finish as fabric wire, spaced a

maximum of 24 inches o.c.  Install tension wire in locations indicated before stretching

fabric.

1. Bottom Tension Wire- Install tension wire within 6 inches of bottom of fabric and

tie to each post with not less than same diameter and type of wire.

G. Top Rail: Install according to ASTM F 567, maintaining plumb position and

alignment of fencing. Run rail continuously through line post caps, bending to radius

for curved runs and terminating into rail end attached to posts or post caps fabricated

to receive rail at terminal posts. Provide expansion couplings as recommended in

writing by fencing manufacturer.

H. Chain-Link Fabric: Apply fabric to outside of enclosing framework. Leave 1 inch

between finish grade or surface and bottom selvage, unless otherwise indicated. Pull

fabric taut and tie to posts, rails and tension wires. Anchor to framework so fabric

remains under tension after pulling force is released.

I. Tension or Stretcher Bars: Thread through fabric and secure to end, corner, pull and

gate posts with tension bands spaced not more than 15 inches o.c.

J. Tire Wires: Use wire of proper length to firmly secure fabric to line posts and rails.

Attach wire at 1 end to chain-link fabric, wrap wire around post a minimum of 180

degrees and attach other end to chain-link fabric per ASTM F 626. Bend ends of

wire to minimize hazard to individuals and clothing.

1. Maximum Spacing: Tie fabric to line posts at 12 inches o.c. and to braces at

24 inches o.c.

K. Fasteners: Install nuts for tension bands and carriage bolts on the side of the fence

opposite the fabric side. Peen ends of bolts or score threads to prevent removal of

nuts.

GATE INSTALLATION

A. Install gates according to manufacturer’s written instructions, level, plumb, and

Secure for full opening without interference. Attach fabric as for fencing. Attach

hardware using tamper-resistant or concealed means. Install ground-set items in

concrete for anchorage. Adjust hardware for smooth operation and lubricate where

necessary.

ADJUSTING

A. Gate: Adjust gate to operate smoothly, easily, and quietly, free of binding, warp,

excessive deflection, distortion, nonalignment, misplacement, disruption, or

malfunction, throughout entire operational range. Confirm that latches and locks

engage accurately and securely without forcing or binding.

DEMONSTRATION

A. Engage a factory-authorized service representative to train Owner’s personnel to

adjust, operate, and maintain gates. Refer to Division 01 Section “Closeout

Procedures”.

The undersigned, as bidder, proposes and agrees, if this quote is accepted, to contract with Colleton County School District, in the form of contract specified, and to supply items on quote.

Vendor Name:	_______________________________________________

Address:		_______________________________________________

________________________________________________

Company Representative By:   ________________________________________

Authorized to Sign	_______________________________________________

Title			__________________________________________

Telephone		__________________________________________

Colleton County School District reserves the right to make the final determination as to the bidder’s ability to provide the products or services requested herein.