REQUEST FOR QUOTES: 2018-3282-3309-13

SPECIFICATIONS FOR SCADA, PLC, VFD AND PROGRAMMING MAINTENANCE AND REPAIRS AT 2900 LANDING PARKWAY, NORTH CHARLESTON

Dorchester County is requesting quotes from capable companies to perform routine and emergency repairs at the Lower Wastewater Treatment Plant’s (LWWTP) SCADA system and related infrastructure to include PLCs, VFDs, and programming.

Scope of Work & Qualifications

- Successful respondent shall be competent and capable of diagnosing, repairing, installing, and programming various manufacturers’ VFDs, including but not limited to, Allen Bradley, Square D and Siemens.

- Successful respondent will establish a set hourly labor rate for routine and emergency calls. This contract will also establish a set mark-up for any necessary parts. This contract will also determine travel expenses to and from the LWWTP.

- Successful respondent shall be knowledgeable and recommended by Tethedral.

- Successful respondent shall perform routine requests within three business days of notification. “Routine” is defined as any upgrades or basic maintenance to equipment and software.

- Successful respondent shall perform emergency requests within twenty-four hours of notification. “Emergency” is defined as complete system failure that prevents the system from contact on-call person.

Term of Contract

The successful respondent will enter a contract with the terms below:

This agreement shall be effective as of TBD, and continue for a period of one (1) year, with the option to renew for four (4) consecutive periods of one (1) year on each expiration date, unless sooner termination is received in writing thirty (30) days prior.

Payment

The successful respondent shall invoice Dorchester County Water & Sewer (DCWS) for any completed work, including dates the work was performed. DCWS will make payment within thirty days from the date of invoice approval.

Location of Work

Work can be performed via remote access or onsite at 2900 Landing Parkway, North Charleston, SC 29420.

References

At least two references should be provided with quotes.

PLEASE SEND QUOTES TO DORCHESTER COUNTY WATER & SEWER (ATTN: MAE TAYLOR), 235 DEMING WAY, SUMMERVILLE, SC 29483. QUOTES MUST BE RECEIVED BY 2:00 PM, OCTOBER 5, 2017.

Contact

Mae Taylor, DCWS Finance & Customer Service Manager

843-563-0069 or 843-832-0069