## Perdido
Well | Designation | Appx I F2020 | Arsenic | Benzene | Iron | Vinyl Chloride | Boron | Strontium | Manganese | Sodium | Chloride | TDS | Total Ammonia | Nitrate | Cobalt | Barium | Lead | Mercury
ŦMW-1AR | C | P | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P
ŦMW-1ADR | D | P | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P
MW-37 | D | P | * | * | * | * | * | * | * | * | * | * | * | P | * | P | P | P
MW-38 | D | P | * | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P
MW-39 | D | P | * | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P
MW-40 | D | P | * | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P
ŦMW-41R | D | P | * | * | * | * | * | * | * | * | * | * | P | P | * | P | P | P
ŦMW-42R | D | P | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P
ŦMW-43R | D | P | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P
ŦMW-44R | D | P | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P
MW-45R | C | P | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P
MW-46R | C | P | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P
MW-5 | C | P | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P
MW-50 | D | P | * | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P
MW-51 | D | P | * | * | * | * | * | * | * | * | * | * | P | P | * | P | P | P
MW-54 | C | P | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P
MW-55 | B | P | P | P | P | P | P | P | P | P | P | * | * | P | * | * | * | P
MW-56 | B | P | * | * | * | * | * | * | * | * | * | * | * | P | * | * | * | P
ŦMW-57R | D | P | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P
MW-58 | D | P | * | * | * | * | * | * | * | * | * | * | * | P | P | * | P | P
MW-66 | D | P | * | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P
MW-67 | D | P | P | P | P | P | P | P | P | P | P | P | * | P | P | P | P | P
ŦMW-69 | D | * | P | P | * | P | * | * | * | * | * | * | * | * | P | P | P | *
BZ-3 | WL
ŦBZ-3R | D | * | P | P | * | P | * | * | * | * | * | * | * | * | P | P | P | *
MW-19 | WL
MW-27 | WL
MW-32 | WL
MW-36 | WL
MW-48 | WL
MW-49 | WL
MW-52R | WL
MW-53 | WL
| Total Wells | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
* Mercury not on the list because it is included in App II. App I is not listed because it is a subset of App II.
| MW-69 and BZ-3R will get an initial characterization Fall 2018. Follow permit guidelines for Spring 2019. | [13 empty] | 26 wells sampled
| Ŧ = new wells for Fall 2018 |  |  | * Appx II run for initial characterization, Appx I after that.
App I = Metals: Sb, As, Ba, Be, Cd, Cr, Co, Cu, Pb, Ni, Se, Ag, Tl, V, Zn, VOC's, EDB
"P" At permit renewal (Spring 2021) |  |  |  |  | GW = Total Ammonia, Boron, Iron, Manganese, Mercury, Sodium, Strontium, TDS, Chloride, Nitrate, App 1
Included in Appendix I, so already covered for permit renewal cycle
* Parameter tested for in normal cycle and permit renewal cycle
Surface Water
| SW-5N | D-SE-1 | BOD |  | TDS |  |  | TN
| SW-6 | D-SE-2 | COD |  | TOC |  |  | TSS
| SW-11 | D-SW-2 | Iron |  | Unionized Ammonia |  |  | Appx I
| SW-13 | D-WT-3 | LL Mecury |  | Hardness
| SW-14 | D-NE-4 | Nitrate |  | TP

## Perdido CAP
| Designation | Benzene | Iron | Manganese | Tetrachloroethene | Trichloroethene | Vinyl Chloride
MW-25 | CAP | * | * | * | * | * | *
MW-19D | CAP | * | * | * | * | * | *
MW-20D | CAP | * | * | * | * | * | *
MW-30 | CAP | * | * | * | * | * | *
MW-29 | CAP |  | * | *
MW-31 | CAP |  | * | *
MEX-4S | CAP |  | * | *
MEX-4D | CAP |  | * | *
PEX-2S | CAP |  | * | *
PEX-2D | CAP |  | * | *
RW-2 | CAP | * | * | * |  |  | *
Sand Filter | CAP | * | * | * |  |  | *
Influent | CAP | * | * | * |  |  | *
MW-37 | CAP/Permit | * | * | * |  |  | *
MW-38 | CAP/Permit | * | * | * |  |  | *
MW-50 | CAP/Permit | * | * | * |  |  | *
MW-51 | CAP/Permit | * | * | * |  |  | *
MW-56 | CAP/Permit | * | * | * |  |  | *
MW-54 | CAP/Permit | WL only
MW-58 | CAP/Permit | WL only
Total Wells |  | 12 | 18 | 18 | 4 | 4 | 12

## Klondike
| Designation | Total Ammonia | Chlorides | Iron | Mercury | Nitrate | Sodium | TDS | App I
PIW-2 | B | * | * | * | * | * | * | * | *
PIW-3 | B | * | * | * | * | * | * | * | *
DW-4S | C | * | * | * | * | * | * | * | *
DW-5S | C | * | * | * | * | * | * | * | *
DW-6S | C | * | * | * | * | * | * | * | *
MW-5 | C | * | * | * | * | * | * | * | *
DW-2I | B | * | * | * | * | * | * | * | *
MW-3 | C | * | * | * | * | * | * | * | *
MW-3AR | C | * | * | * | * | * | * | * | *
MW-6 | C | * | * | * | * | * | * | * | *
MW-7AR | C | * | * | * | * | * | * | * | *
DW-5I | C | * | * | * | * | * | * | * | *
DW-6I | C | * | * | * | * | * | * | * | *
DW-6D | C | * | * | * | * | * | * | * | *
| Total Wells | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14
Surface Water
SW-1 | Unionized Ammonia
SW-2 | Hardness
Copper
LL Mercury
Iron
Nitrate
Zinc
TDS
TOC
TP
Total Nitrogen
COD
TSS
App I

## Camp V
| Designation | Arsenic | Iron | Total Ammonia
MW-8 | B | * | * | *
MW-9 | C | * | * | *
MW-10 | C | * | * | *
MW-11 | C | * | * | *
MW-5 | WL
MW-3 | WL
MW-2 | WL
MW-1 | WL
MW-6 | WL
| Total Wells | 4 | 4 | 4
Camp V is closed and no longer sampled

## Saufley
| Designation | Parameters for all
MW-1 | C | Aluminum
MW-2 | WL | Chlorides
MW-3 | Destroyed | Nitrate
MW-4 | C | Sulfate
MW-5 | WL | TDS
MW-6 | B | Iron
Sodium
Arsenic
Cadmium
Chromium
Lead
Mercury
Total Ammonia
Xylenes
EPA Methods 601 & 602 Parameter List

## Beulah
| Designation | Appx II PAHs | Aluminum | Iron | Manganese | Sodium | Chloride | TDS | Ammonia as N | Arsenic | Lead | Mercury | Tetra-chloroethene | Vinyl Chloride | Benzene | Penta-chlorophenol | Tolune | Xylene | Appx I Metals | Appx I VOC's | EDB/DBCP | Nitrate
MW-4 | B | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | P | P | P | P
MW-10R | B | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | P | P | P | P
MW-7 | D | * | * | * | * | * | * | * | * | * | P | P | P | P | P | P | P | P | P | P | P | P
MW-8 | D | * | * | * | * | * | * | * | P | * | P | P | P | P | P | P | P | P | P | P | P | P
MW-9 | D | * | * | * | * | * | * | * | * | P | P | P | P | P | * | P | P | P | P | P | P | P
BMW-1R | D | * | * | * | * | * | * | * | * | P | P | * | * | * | * | P | P | P | P | P | P | P
BMW-3R | D | * | * | * | * | * | * | * | P | P | * | P | P | P | P | P | P | P | P | P | P | P
MW-6 | C | * | * | * | * | * | * | * | * | P | P | P | P | P | P | * | * | * | P | P | P | P
*MW-11 | C | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P | P
BMW-2 | C | * | * | * | * | * | * | * | P | P | * | P | P | P | P | P | P | P | P | P | P | P
BMW-7 | C | * | * | * | * | * | * | * | P | P | P | P | P | P | P | P | P | P | P | P | P | P
MW-6R | WL
MW-12 | WL
MW-13 | WL
MW-13D | WL
MW-14 | WL
MW-15 | WL
MW-16 | WL
MW-17 | WL
MW-18 | WL
MW-19 | WL
| Total Wells | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11
Surface Water
SW-3 | BOD |  | TDS |  | Unionized Ammonia |  |  |  | *MW-11 sampled at permit renewal or every 5 years, whichever is less. Fall 2020
SW-7 | COD |  | Hardness |  | Zinc |  |  |  | *All wells analyzed for full list (below) at permit renewal or every 5 years, whichever is less. Fall 2020
SW-8 | Copper |  | Total Nitrogen |  | Appx I VOCs & Metals
SW-10 | Iron |  | TOC |  | Pentachlorophenol |  |  |  | "P" Full list = App 1 parameters, App 2 PAHs, Aluminum, Ammonia as Nitrogen, Iron, Manganese, Mercury, Sodium, Pentachlorophenol, TDS, Chloride, Nitrate
| Mercury |  | TP |  | Appx II PAHs
| Nitrate |  | TSS | [5 empty] | App I = Metals: Sb, As, Ba, Be, Cd, Cr, Co, Cu, Pb, Ni, Se, Ag, Tl, V, Zn, VOC's, EDB
Last time MW-11 was sampled and full list = Spring 2019… next time should be FALL 2020
These parameters are included in Appx I and should be run on all non-WL only wells for F2020
* Parameter tested for in normal cycle and permit renewal cycle

## Beulah RAP
| Designation | PAHs | Aluminum | Iron | Manganese | Sodium | Chloride | TDS | Ammonia as N | Benzene | Pentachlorophenol | Tolune | Xylene
MW-4 | WL
MW-10R | WL
MW-7 | WL
MW-8 | WL
MW-9 | WL
BMW-1R | WL
BMW-3R | WL
MW-6 | C | * | * | * | * | * | * | * | * | * | * | * | *
MW-11 | WL
BMW-2 | WL
BMW-7 | WL
MW-6R | C (now WL Only) | NA |  | NA | [5 empty] | NA
MW-12 | WL
MW-13 | WL
MW-13D | WL
MW-14 | WL
MW-15 | WL
MW-16 | WL
MW-17 | C | * |  | * | [5 empty] | *
MW-18 | C | * |  | * | [5 empty] | *
MW-19 | C | * |  | * | [5 empty] | *
| Total Wells | 4 | 1 | 4 | 1 | 1 | 1 | 1 | 1 | 4 | 1 | 1 | 1
Surface Water
SW-3 | App I |  |  | TP
SW-7 | Pentachlorophenol (permit only) |  |  | TN
SW-8 | Unionized Ammonia |  |  | COD |  |  | * Only the highlighted parameters are reported in RAP report for MW-6
SW-10 | Hardness |  |  | TSS
| Copper |  |  | PAHs
| LL Mercury |  |  | Iron
| Nitrate |  |  | BOD
Zinc
TDS
TOC

## Totals
Column1 | Nutrients | TN | NO2 | NO3 | NOX | TP | Unionized Ammonia | Ammonia as N | Total
GW | Perdido |  |  | 24 |  |  |  | 24 | 48
SW | Perdido | 10 |  | 10 |  | 10 | 10 |  | 40
GW | Perdido CAP | [7 empty] | 0
GW | Klondike |  |  | 14 |  |  |  | 14 | 28
SW | Klondike | 2 |  | 2 |  | 2 | 2 |  | 8
GW | Camp V | [7 empty] | 0
GW | Saufley |  |  | 3 |  |  |  | 3 | 6
GW | Beulah |  |  | 11 |  |  |  | 11 | 22
SW | Beulah | 4 |  | 4 |  | 4 | 4 |  | 16
GW | Beulah RAP | [6 empty] | 1 | 1
SW | Beulah RAP | [7 empty] | 0 | Beulah SW parameters are shared with RAP SW parameters except for Pentachlorophenol
Total |  | 16 | 0 | 68 | 0 | 16 | 16 | 53 | 169
Fall Event only

## Perdido ECUA Permit
Transfer Station and Leachate | L-O (Fall only)
Cadmium | TDS
Copper | BOD
Lead | COD
Nickel | Total Ammonia
Silver | Nitrate
Zinc | Nitrite
Mercury | Nitrate + Nitrite
Total Nitrogen
Total Nitrogen
Chlorides
Bicarbonate
Cyanide
Sulfide
Antimony (all Appx II metals by 6010/6020)
Arsenic
Barium
Beryllium
Boron
Cadmium
Chromium
Cobalt
Copper
Iron
Lead
Nickel
Selenium
Silver
Sodium
Thallium
Tin
Vanadium
Zinc
Mercury (7470/7471)
8260 Volatiles (Appx II)
8270 Semi-volatiles (Appx II + TIC List)
8081/8082 Pesticides/PCBs (Appx II)
8151 Herbicides (Appx II)
8011 EDB/DBCP