601 Hwy 297A Cantonment Florida 32514 (Escambia County Road Prison)
Replace an existing 800 Amp 208/120 vac Auto Transfer Switch
Project Intent: 
Escambia County is seeking proposals to replace the existing NEMA 3 800-amp 208/120 vac Auto transfer switch. A full 1-year Material and Labor Warranty shall be included with all proposals. A non-mandatory site visit will be available on February 26, 2020 at 10 am. It is the responsibility of the proposing Contractors to advise the County of any items, during the walk-through, that they feel are not adequately addressed in the Scope of Work for the adequate replacement of the existing transfer Switch. The Scope of Work will be revised, if required, and then sent to all Contractors, so the items can be included in their bid. 
General Notes:                                                                                                                                                 The Contractor needs to be aware that there will be inmates in this area and attention must be given to tools and other items.                                                                                                                                           
Scope of Work: 
Replace the single 800-amp 208/120 vac Transfer Switch that is fed from a main panel and a Kohler 230 kw Generator 230ROZD. This equipment powers a Correction Facility barracks and kitchen.

Requirements:                                                                                                                                                      The power must remain on due to this being an active correctional facility.                                                The Auto Transfer switch must be compatible with the Kohler generator                                                                                                                                                                                                                                                                                  This work will be done during normal business hours.                                                                                                                                                                                                                                                                                                                          The Contractor is responsible for obtaining and paying for all applicable permits and fees.                                  The Contractor is responsible to maintain the work site in a safe and presentable condition.                               The Contractor will remove and dispose of all construction debris at the end of each workday. The Contractor needs to be aware that there will be inmates in this area and attention needs to be given to tools and other items.

Please call with any questions or email at jadanley@myescambia.com

Allen Danley
Electrical Supervisor
Escambia County 
Facilities Management Department
Phone: 595-4635