Service Sites:

The locations and equipment associated with the sites are as follows:

- Gardens Corner Tower		(2) 3 ton wall mount HVAC’s	(1) 45kw LP Generac generator/wall mount ATS.

- Pritchardville Tower		(2) 3 ton wall mount HVAC’s	(1) 45 kw LP Generac generator/wall mount ATS.

- Land’s End Tower 		(2) 3 ton wall mount HVAC’s	(1) 45 kw LP Generac generator/wall mount ATS.

- Arrow Rd. Tower		(2) 3 ton wall mount HVAC’s	(1) 50 kw Diesel Cummins generator/wall mount ATS.