2

Dorchester County

Water & Sewer Department

235 Deming Way
Summerville, SC  29483


REQUEST FOR QUOTATION

Issue Date:  January 13, 2020
Water Box and Lid
A price is being requested for 12 months.  Please provide your quote below to include specified equipment and delivery to site.  
DEADLINE FOR QUOTE - 10:00 AM Friday, January 31, 2020.
Quotes will be accepted by faxing to 843-832-0347 or 843-563-0347, attention Sheri Fulton; call 843-832-0091 to confirm fax was received; by mail to Dorchester County Water & Sewer, 235 Deming Way, Summerville, SC  29483 or Hand Deliver to Dorchester County Water & Sewer, 235 Deming Way, Summerville, SC  29483
Questions should be directed to Sheri Fulton at 843-832-0091 or 843-563-0091.

Quotes should be valid from January 30, 2020 through January 30, 2021                                                                                                
                                                                                       
Provide Quote for fittings and accessories below:
Item: Water Box and Lid
Description: Water Box and Lid

Must be manufactured in America and will be manufactured to meet or exceed compliance with ANSI/AWWA C800 (latest revisions). Brass components in contact with potable water will conform to by meeting or exceeding ASTM B584, UNS C89833 (latest revision) and identified “NL”. Brass components not in contact with potable water will conform to by meeting or exceeding ASTM B62 and ASTM B584, UNS C83600-85-5-5-5 (latest revision). Cast iron components will conform to by meeting or exceeding ASTM A126 Class B or ASTM A159 Grade 2500 (latest revision) and coated with black dip. Designed to provide meter spacing for ease of installation. Large wrench flats will be provided for proper installation. Insert stiffeners required for all flexible plastic connections. Lids will be permanently marked by casting with the letters “DCWS” and telephone number “(843) 832-0075.
The following nomenclature listed is representative of quality products and sizes to meet requirements. 

Box and Lid for 5/8” or ¾” T-10 Meter:

$____________________________
LYLVP141-233-P Long Yoke Box with 
dual check and expansion nut

NL Yoke and Long box Assembly


$____________________________

776P208BC2G333X011

Box and Lid for 1” T-10 Meter:


$_____________________________

NL Yoke and Long box Assembly

776-409BB2G 443

Box and Lid for 1 ½” T-10 Meter:


$_____________________________

14191283 Black with 2 MSHL T Cover

Authorized Signature _______________________________________________

Company Name:
_________________________________________________

Comments: _______________________________________________________

cc:  Rebecca Dantzler, Purchasing Department

      file

2
2

