Escambia County Waste Services is requesting quotes for purchase of a Landfill Gas Analyzer with the listed options below:

CH4, CO2, O2, At low and high range pressures, Gas Temperature using wireless technology

Must include:

GPS Capability

Windows Mobile

Wireless thermistor

Data Storage and download capabilities

Rechargeable Battery with charger

All hoses, filters and water traps

protective case and screen protector

Meter bag

and all Calibration gases and fittings

Warranty

Delivery

The delivery destination of the system is the Escambia County Waste Services, 13009 Beulah Road, Cantonment, FL 32533.  All processing/shipping delivery charges and fees should be listed as a line item (s) on the quote.  Please note that Escambia County is exempt from Sales Tax.

Any questions and correspondence regarding this request, please mail Robert Sekerka at rsekerka@myescambia.com.

Request for Quote Deadline:  June 18, 2020 at 5:00 p.m.