Roof Replacement Escambia Co. Road Operations 
601 Hwy. 297A Cantonment Florida, 32533
Project Intent: 
Escambia County is seeking proposals from Roofing Contractors to replace the roof shingles to insure a leak free roof. 
General Notes:                                                                                                                                                         The replacement shingles will be Pinnacle Pristine Architectural Shingles- Pristine Tan or an approved similar shingle. This is an active County Building and all driveways will be kept clear for working vehicles. 
Scope of Work: 
- Remove one layer of existing shingles and underlayment down to clean roof deck.
- Re-nail roof deck to meet current FL Code.
- Install new, corrosion resistant drip edge.
- Install Atlas Polyseal Membrane, or an approved similar product, in all valleys and around all roof penetrations.
- Install new Atlas underlayment, or an approved similar product, over entire roof deck.
- Install Starter Shingles along all eave and rake edges.
- Install Atlas Pinnacle Pristine Lifetime, or an approved similar product, architectural shingles.
- Install Atlas Pro-Cut, or an approved similar product, Hip & Ridge Shingles.
- Re-install existing attic ventilation.
- Replace all plumbing boots.
- Paint all pipe jacks and plumbing boots to match new shingles.
- Replace chimney and wall flashing as needed.
- Provide 5 yr. workmanship warranty.

Requirements:                                                                                                                                                      This work will be done during normal business hours.                                                                                                                                                                The Contractor is responsible for obtaining and paying for all applicable permits and fees.                                  The Contractor is responsible to maintain the work site in a safe and presentable condition.                               The Contractor will remove and dispose of all construction debris at his expense and at the end of the work day.                                                          
David Bardin
Interim Division Manager 
Escambia County 
Facilities Management Department
Maintenance
Phone: 595-4634