## Sheet1
PUBLIC SAFETY DEPARTMENT GENERATORS
COMMUNICATIONS
|  | Property | # of Visits | Oil Change Visit | Site Visit | Site Visit | Annual Cost
Generator Description | Location | Number | per Year
Generac 20KW Model # 10558090200 21008880 | Big Lagoon Tower Site | NONE | 3 |  |  |  | 0
Generac 20 KW - Model # 20A02676-A 2057873 | Century Water Tower | 49178 | 3 |  |  |  | 0
CAT Model #D50-6S-SER.# 00C44CGLD00912 | Don Sutton Tower Site | NONE | 3 |  |  |  | 0
Onan 75 KW - Model # 75.0DBV B860799312 | Englewood Tower Site | City Prop. | 3 |  |  |  | 0
Generac 50kw Diesel serial #8442256 | Public Safety Tower Site |  | 3 |  |  |  | 0
Generac 30KW 10015150200 2098713 | Gonzales Tower Site | 83J7-S.O. | 3 |  |  |  | 0
Olympian Model # G35LG2 SER. # GXE01004 | Gulf Breeze Tower Site | NONE | 3 |  |  |  | 0
Generac - Model # 97A01561-S 2033968 | Molino Health Dept. Tower Site | NONE | 3 |  |  |  | 0
Onan 35 KW - Model # 35DGBB A980673262 | North Site Tower Site | 98C3-S.O. | 3 |  |  |  | 0
Kohler 31KW - Model #GLS-164231-0150 | North Site Tower Site #2 | NONE | 3
Kohler 30 KW - Model # 30ROZJ61 391565 | Pipeline Tower Site | 46226 | 3 |  |  |  | 0
Generac 15 KW - Model #98A03452-S 2042378 | Walnut Hill Tower Site | NONE | 3 |  |  |  | 0
Generac 25 KW - Model # QT02516ANSN 4647441 | Warrington Tower Site | NONE | 3 |  |  |  | 0
Kohler 20 KW - Model # 20RZ 158337 | WSRE Tower Site | 41862 | 3 |  |  |  | 0
Generac 22 KW -Model #RG02224ANAX | I-10/4H Tower Site | NONE | 3 |  |  |  | 0
Kohler 1000 KW- Model # 1000R0ZD4 | Public Safety Building 6575 N "W" St | NONE | 3 |  |  |  | 0
CAT 400 KW - Public Safety Back up | Public Safety Building 6575 N "W" St | NONE | 3
EMERGENCY MANAGEMENT |  |  |  | COMMUNICATIONS SUBTOTAL |  |  | 0
|  | Property | # of Visits | Oil Change Visit | Site Visit | Site Visit | Annual Cost
Generator Description | Location | Number | per Year
Stamford 30 KW - Model # N/A Ser. #0111355/05 | Perkins Portable/Public Safety Storage Bldg. | NONE | PER REQUEST | N/A | N/A | N/A | N/A
Martin Diesel-Yanmar Generator CGS-44YE | THOR Command Trailer/PS Storage Bldg. | NONE | 2
Carrier PC6000 | THOR Command Trailer/PS Storage Bldg. | NONE | 1
Honda Model # EB5000 Ser. # EA7-3111709 | Honda Portable/Public Safety Storage Bldg | 58532 | 1
Kohler 350 KW Protable - Model # 350REOZD 602562 | Pensacola State College | NONE | 3
|  |  |  | EMERGENCY MANAGEMENT SUBTOTAL |  |  | 0
EMS
|  | Property | # of Visits | Oil Change Visit | Site Visit | Site Visit | Annual Cost
Generator Description | Location | Number | per Year
Kohler 80 KW - Model # 80ROZJ 393452 | Century EMS Sub-Station | NONE | 3
#1 Honda 6.5 KW - Model # ES6500 EA1-1077128 | Public Safety Storage Building | 44150 | 1
#2 Honda 6.5 KW - Model # ES6500 EA1-1070758 | Public Safety Storage Building | 44149 | 1
#3 Honda 5.0 KW - Model # EM5000S EA& 1119206 | Public Safety Storage Building | 41336 | 1
#4 Honda 5.0 KW - Model # EM5000S EA7 1118855 | Public Safety Storage Building | 41337 | 1
#5 Honda 2000 I - Ser# EAAJ1393351 | Public Safety Medical Supply | NONE | 1
Meco Alte Spa Model N/A Serial # 620327C3 | Public Safety Storage Building/EMS Support Trailer | NONE | 3
Power Tech 20 KW - Model # PTS MH-20AA KHA45DCA3213AA | Mobile 1 Command Trailer/PS Storage Bldg. | NONE | 2
[5 empty] | EMS SUBTOTAL |  | 0
|  | GRAND TOTAL ANNUAL COSTS FOR SERVICE |  |  |  |  | 0