RFQ #2018-02-005

SIERRA COUNTY

ARCHITECTUAL DESIGN PRE-CON

ADDENDA (1)

Date and Time:	February 7, 2018 @ 10:00 AM

Location:		City of Truth or Consequences Fire Department

Attendance:		Per Sign in Sheet

ADDENDA 1

AGENDA

- Introduction

- Review of Building and Plans

- Possible Requirements

Based on the preliminary review the following has been noted:

- Building 10 Foot Addition- 10x60

- 3 ft. Ceiling Drop

- Temp Control Environment

- Emergency Exit to new addition

- 1 hour existing fire suppressant wall/ may require additional suppressants per CID

- Feasibility study for space

- Estimated Cost based on program requirements

- Possible raised flooring

- Pending CAD files

END