	RFQ #2018-02-005
SCRDA 911 BUILDING ADDITION DESIGN
RFQ #2018-02-005
SIERRA COUNTY
ARCHITECTUAL DESIGN PRE-CON
ADDENDA (1) 

Date and Time:	February 7, 2018 @ 10:00 AM
Location:		City of Truth or Consequences Fire Department 
Attendance:		Per Sign in Sheet

ADDENDA 1
AGENDA

1. Introduction
2. Review of Building and Plans
3. [bookmark: _GoBack]Possible Requirements

Based on the preliminary review the following has been noted:
a.) Building 10 Foot Addition- 10x60
b.) 3 ft. Ceiling Drop
c.) Temp Control Environment
d.) Emergency Exit to new addition
e.) 1 hour existing fire suppressant wall/ may require additional suppressants per CID
f.) Feasibility study for space
g.) Estimated Cost based on program requirements
h.) Possible raised flooring
i.) Pending CAD files 

END
